## How to use
Medical Equipment Maintenance & Calibration Log (Excel)
Toolkit by GroupChatOn · free template · https://toolkit.groupchaton.com
Keep every machine's service history in one place: the autoclave, BP apparatus, weighing scale, ECG machine, analyser, refrigerator or generator. Record each preventive service, breakdown and calibration; the register works out when the next calibration is due, warns you before the AMC or warranty runs out and totals what each machine has cost to maintain.
Colours
Yellow cells: type or pick here.
Grey and white cells: calculate by themselves. Don't type over them.
Steps
1 | On the Settings sheet leave the as-on date as =TODAY() and set how many days of warning you want before a due date (30 to start with).
2 | List every machine on the Equipment sheet with an asset ID (stick the same ID on the machine), its details, warranty or AMC end date and how often it must be calibrated (12 months, 6 months, or empty if never).
3 | Every time a machine is serviced, repaired or calibrated, add a row on the Service log sheet. Keep the calibration certificate number in the Certificate / job no. column.
4 | Open the Equipment sheet to see next calibration due and status. Sort by Days left to see what is coming up.
5 | Call the vendor before the AMC ends to renew it, and book calibrations before they fall due.
Tips
• | File the paper calibration certificates in asset ID order so an inspector can match them to the log.
• | Record downtime days for breakdowns: a machine that is often down may cost more than a replacement.
• | Calibration intervals come from the maker's manual or your accreditation body; this sheet only reminds you.
• | This is an admin and record-keeping template. It holds no medical advice and does not replace your clinic's medical records or software.
Full guide, questions and answers, and more free templates:
https://toolkit.groupchaton.com/clinic/equipment-maintenance-log-excel/
Designed & Developed by: Nivesh Sahayak
Free to use for your own work and your clients' work. Please don't sell or re-publish this file. The calculations are a help, not professional advice: check figures, tax rates and rules before you rely on them.

## Settings
Settings
Fill once. Other sheets read these values.
Clinic / lab name | Sehat Nursing Home | Calibration intervals come from the maker's manual or your accreditation body. This register only reminds you; keep the calibration certificates on file.
Position as on | 2026-11-02
Warn this many days before | 30

## Equipment
Equipment register
One row per machine. Grey columns calculate from the Service log.
Asset ID | Equipment | Make / model | Serial no. | Location | Vendor / service engineer | Vendor phone | Purchased on | Warranty ends | AMC ends | Calibrate every (months) | Last calibration | Next calibration | Days left | Last service | Cost to date | Status
EQ-01 | Autoclave (vertical, 40 L) | SteriPro VA-40 | SP40-22187 | CSSD room | MedServe Engineers | 98140 70001 | 2024-05-16 | 2026-05-16 | 2026-11-22 | 12 | 2025-11-17 | 2026-11-17 | 15 | 2026-07-05 | 2500 | Calibration due soon
EQ-02 | Digital BP monitor | CareTrack BP-200 | BP2-55102 | OPD room 1 | City Medical Equipment | 98140 70002 | 2025-06-20 | 2027-06-20 |  | 12 | 2026-04-16 | 2027-04-16 | 165 | 2026-04-16 | 600 | OK
EQ-03 | Weighing scale (adult) | WeighRight AW-150 | WR-88231 | Reception | City Medical Equipment | 98140 70002 | 2024-12-02 |  |  | 12 | 2025-10-18 | 2026-10-18 | -15 | 2025-10-18 | 400 | Calibration overdue
EQ-04 | ECG machine, 12 channel | CardioLine C12 | CL12-4410 | Procedure room | MedServe Engineers | 98140 70001 | 2025-09-28 | 2027-09-28 |  | 12 |  | 2026-09-28 | -35 | 2026-09-23 | 3200 | Calibration overdue
EQ-05 | Semi-auto biochemistry analyser | LabChem SA-5 | LC5-1092 | Laboratory | LabChem Service Centre | 98140 70003 | 2023-07-21 |  | 2027-04-11 | 6 | 2026-05-16 | 2026-11-16 | 14 | 2026-05-16 | 4500 | Calibration due soon
EQ-06 | Vaccine refrigerator (ILR) | ColdSafe ILR-90 | CS90-7731 | Pharmacy | CoolTech Services | 98140 70004 | 2025-01-21 | 2026-01-21 |  | 12 |  | 2026-01-21 | -285 | 2026-09-03 | 0 | Calibration overdue
EQ-07 | Pulse oximeter | OxyCheck P10 | OC10-2209 | Ward | City Medical Equipment | 98140 70002 | 2026-06-05 | 2027-06-05 | [6 empty] | 0 | OK
EQ-08 | Diesel generator 15 kVA | PowerGen 15 | PG15-3306 | Back yard | Ludhiana Power Services | 98140 70005 | 2022-09-24 |  | 2027-02-05 |  |  |  |  | 2026-10-03 | 1800 | OK
Formulas:
Last calibration = IF([Asset ID]="","",IFERROR(1/(1/MAX(IF(('Service log'!$B4:B2003=[Asset ID])*('Service log'!$D4:D2003="Calibration"),'Service log'!$A4:A2003))),""))
Next calibration = IF(OR([Asset ID]="",N([Calibrate every (months)])=0),"",IF([Last calibration]<>"",EDATE([Last calibration],[Calibrate every (months)]),IF([Purchased on]<>"",EDATE([Purchased on],[Calibrate every (months)]),"")))
Last service = IF([Asset ID]="","",IFERROR(1/(1/MAX(IF('Service log'!$B4:B2003=[Asset ID],'Service log'!$A4:A2003))),""))

## Service log
Service log
One row per service, repair, calibration or inspection.
Date | Asset ID | Equipment | Type | Done by | Certificate / job no. | Cost | Downtime (days) | Remarks
2025-11-17 | EQ-01 | Autoclave (vertical, 40 L) | Calibration | MedServe Engineers | CAL/23/0911 | 2500 | 0 | Temperature and pressure gauges checked
2026-07-05 | EQ-01 | Autoclave (vertical, 40 L) | Preventive maintenance | MedServe Engineers | PM-4471 | 0 | 0 | Under AMC: gasket replaced
2026-04-16 | EQ-02 | Digital BP monitor | Calibration | City Medical Equipment | CAL/BP/220 | 600 | 0
2025-10-18 | EQ-03 | Weighing scale (adult) | Calibration | Legal metrology / vendor | WM-7781 | 400 | 0 | Stamped
2026-09-23 | EQ-04 | ECG machine, 12 channel | Breakdown repair | MedServe Engineers | BR-1209 | 3200 | 3 | Patient cable replaced
2026-05-16 | EQ-05 | Semi-auto biochemistry analyser | Calibration | LabChem Service Centre | LC/CAL/556 | 4500 | 1 | Wavelength and temperature checks
2026-09-03 | EQ-06 | Vaccine refrigerator (ILR) | Inspection | In-house |  | 0 | 0 | Temperature log reviewed
2026-10-03 | EQ-08 | Diesel generator 15 kVA | Preventive maintenance | Ludhiana Power Services | PM-889 | 1800 | 0 | Oil and filter change

## Due list
Due list
As on 02-11-2026
Status | Machines
Calibration overdue | 3
Calibration due soon | 2
Add a calibration | 0
AMC / warranty ending | 0
OK | 3
Service log totals | Entries | Amount
Maintenance cost, all time | 8 | 13000
Maintenance cost, last 12 months | 7 | 12600
Breakdown downtime, last 12 months (days) | 3
Open the Equipment sheet and use the filter on the Status column to list the machines behind each count. Sort by Days left to see the next calibrations first.